## FY15-CURRENT
WAYNE STATE UNIVERSITY
CAMPUS CHILLER LIST
| Bldg. | Location | Type | Manufacturer | Size (Tons) | Model # | Serial Number | Date Manufactured | Age of Chiller | Refrigerant | Total Charge Qty | Utility Provider
1 | 001 | Old Main | Absorber - 400 Ton | York | 400 | YIAST4C1-46 | UKDMA00422 | 1995 | 20 | LiBr | 280 gal | PLD
2 | 001 | Old Main | Water Cooled Screw - 350 Ton | York | 350 | YSDADAS3-CLBS | SHDM675630 | 1995 | 20 | R-22 | 900 lbs | PLD
3 | 001 | Old Main | Water Cooled Screw - 350 Ton | York | 350 | YSDADAS3-CLBS | SHDM675640 | 1995 | 20 | R-22 | 900 lbs | PLD
4 | 003 | Physics Building | Water Cooled Rotary Screw | Trane | 450 | RTHA450 | U92G09547 | 1992 | 23 | R-22 | 815 lbs | PLD
5 | 006 | Life Science Building | Centrifugal | Trane | 320 | CVHE032 | L87C01286 | 1987 | 28 | R-11 | 575 lbs | PLD | DECOMMISSIONED - left in place
6 | 007 | Chemistry Building | Water Cooled Centrifugal - 1200 Ton | York | 1200 | YKM3MRK2-CBGS | SCWM537120 | 2012 | 3 | R-134A | 5400 lbs | PLD
7 | 007 | Chemistry Building | Water Cooled Centrifugal - 1200 Ton | York | 1200 | YKM3MRK2-CBGS | SCWM537120 | 2012 | 3 | R-134A | 5400 lbs | PLD
8 | 016 | State Hall (Chemistry) | Centrifugal | Trane | 800 | CVHE080 | N96B01479 | 1996 | 19 | R-123 | 1100 lbs | PLD
9 | 022 | Prentis Building | Absorber - 275 Ton | York | 275 | YIAST3B2 | UNDMA00455 | 1995 | 20 | LiBr | 220 gal | PLD
10 | 025 | Harris Fitness Center | Water Cooled Rotary Screw | Trane | 180 | RTHB180 | U99M03310 | 1999 | 16 | R-22 | 550 lbs | PLD
11 | 026 | Purdy Library | Centrifugal | Trane | 320 | CVHE032 | L96A00679 | 1996 | 19 | R-123 | 600 lbs | PLD
12 | 026 | Purdy Library | Centrifugal | Trane | 320 | CVHE032 | L96A00721 | 1996 | 19 | R-123 | 600 lbs | PLD
13 | 026 | Purdy Library | Water Cooled Centrifugal - 250 Ton | Carrier | 250 | 19XR-313223 | 71620 | 2000 | 15 | R-134A | 680 lbs | PLD
14 | 034 | Student Center Buiilding | Absorber | Trane | 590 | ABSC590 | L98L06622 | 1998 | 17 | LiBr | 2760 lbs | PLD
15 | 039 | Community Arts Center | Centrifugal | Trane | 320 | CVHE032 | L87D01467 | 1987 | 28 | R-11 | 575 lbs | PLD
16 | 039 | Community Arts Center | Centrifugal | Trane | 320 | CVHE032 | L87D01466 | 1987 | 28 | R-11 | 575 lbs | PLD
17 | 043 | McGregor Conference Center | Helical Rotary | Trane | 100 | RTUA100 | U02F05450 | 2002 | 13 | R-22 | 144 lbs | PLD
18 | 046 | Law School Building | Water Cooled Rotary Screw | Trane | 215 | RTHB215 | U00A04581 | 2000 | 15 | R-22 | 525 lbs | PLD
19 | 048 | The Richard Cohn Building | Centrifugal | Trane | 320 | CVHE032 | L88A00449 | 1988 | 27 | R-11 | 575 lbs | PLD
20 | 049 | Law Library | Centrifugal | Trane | 320 | CVHE032 | L90D00969 | 1990 | 25 | R-11 | 600 lbs | PLD
21 | 050 | Natural Science Hall (Shapiro) | Water Cooled Rotary Screw | Trane | 215 | RTHB215 | U95B04716 | 1995 | 20 | R-22 | 525 lbs | PLD
22 | 062 | Academic / Admin Building | Air Cooled Rotary Screw | Trane | 185 | RTAA185 | U95G29252 | 1995 | 20 | R-22 | 295 lbs | DTE
23 | 062 | Academic / Admin Building | Air Cooled Rotary Screw | Trane | 185 | RTAA185 | U95G29251 | 1995 | 20 | R-22 | 295 lbs | DTE
24 | 065 | Mortuary Science | Air Cooled Screw | McQuay | 200 | ALS204A | STNU990800145 | 1997 | 18 | R-22 | 440 lbs | DTE
25 | 067 | 5425 Woodward | Air Cooled Screw - 195 Ton | York | 195 | YCIV02075A46VAGS | RBVM024611 | 2009 | 6 | R-134A | 1460 lbs | DTE
26 | 080 | Matthaei** | Water Cooled Reciprocating (for Fan Rm 18) | Carrier | 50 | 30HK-050-A-600 | 3596F24970 | ??? Over 20yrs | 20+ | R-22 | 80 lbs | PLD
27 | 082 | Welcome Center | Air Cooled Rotary Screw | Trane | 300 | RTAC300 | U02D03797 | 2002 | 13 | R-22 | 580 lbs | DTE
28 | 089 | Biological Science Building | Centrifugal | Trane | 800 | CVHE080 | L90D00989 | 1990 | 25 | R-11 | 1550 lbs | PLD
29 | 090 | Danto Engineering | Air Cooled Scroll - 200 Ton | York | 200 | YLAA01355E46XAA | 2ETM000852 | 2009 | 6 | R-410A | 610 lbs | PLD
30 | 090 | Danto Engineering | Water Cooled Centrifugal - 400 Ton | York | 400 | YKERETQ-CLG | SFTM998440 | 2009 | 6 | R-134A | 1650 lbs | PLD
31 | 090 | Danto Engineering | Water Cooled Centrifugal - 400 Ton | York | 400 | YKERETQ-CLG | SFTM998590 | 2009 | 6 | R-134A | 1650 lbs | PLD
32 | 090 | Engineering (Office Wing) | Water Cooled Scroll | Carrier | 46 | 30MPW04565-12165 | 1214Q21754 | 2014 | 1 | R-410a | 34.5 lbs | PLD
33 | 090 | Engineering (Office Wing) | Water Cooled Scroll | Carrier | 46 | 30MPW04565-12165 | 1214Q21757 | 2014 | 1 | R-410a | 34.5 lbs | PLD
34 | 090 | Engineering (Office Wing) | Water Cooled Scroll | Carrier | 46 | 30MPW04565-12165 | 1214Q21758 | 2014 | 1 | R-410a | 34.5 lbs | PLD
35 | 090 | Engineering (Office Wing) | Water Cooled Scroll | Carrier | 46 | 30MPW04565-12165 | 1214Q21761 | 2014 | 1 | R-410a | 34.5 lbs | PLD
36 | 096 | UGL | Water Cooled Centrifugal | McQuay | 250 | PFH087J | 56L81105 | 1997 | 18 | R-134A | 1550 lbs | DTE
37 | 134 | Helen DeRoy Apts | Absorber - 250 Ton | York | 250 | YIAST3B3 | UBLM003906 | 2002 | 13 | LiBr | 244 gal | PLD
38 | 140 | Education Building | Water Cooled Rotary Screw | Trane | 200 | RTHB215 | U97B09682 | 1997 | 18 | R-22 | 525 lbs | PLD
39 | 140 | Education Building | Water Cooled Rotary Screw | Trane | 200 | RTHB215 | U97B09683 | 1997 | 18 | R-22 | 525 lbs | PLD
40 | 155 | Manoogian Hall | Centrifugal | Trane | 500 | CVHE500 | L02E08748 | 2002 | 13 | R-123 | 620 lbs | PLD
41 | 155 | Manoogian Hall | Centrifugal | Trane | 500 | CVHE500 | L02E08736 | 2002 | 13 | R-123 | 620 lbs | PLD
42 | 156 | St. Andrews | Air Cooled Scroll | Carrier | 35 | 30RAP035J-02FC4 |  | 2015 | <1 | R-410A | 30 lbs | DTE
43 | 189 | Hillberry Theater | Air Cooled Scroll - 85 Ton | York | 85 | YLAA0090SE17 | 28HWM007591 | 2012 | 5 | R-410A | 260 lbs | PLD
44 | 193 | Computing Service Center ** | Centrifugal | Trane | 180 | CVHE018 | L89G02463 | 1989 | 26 | R-11 | 340 lbs | PLD | DECOMMISSIONED - left in place
45 | 193 | Computing Service Center | Gas Fired Water Cooled Screw compressor | Teco | 180 | CH20Ox | 388 | 2014 | 1 | R-134A | 550 lbs | PLD
46 | 499 | Rackham Educational Building | Centrifugal | Trane | 490 | CVHF049 | L05J03948 | 2005 | 10 | R-123 | 900 lbs | DTE
47 | 507 | University Towers | Absorber - 250 Ton | York | 250 | YIAST4B4 | UADMP00348 | 1995 | 20 | LiBr | 244 gal | DTE
48 | 509 | Knapp A-1 | Water Cooled Scroll | Carrier | 40 | 30MPWO4055A1212165 | 2414Q21989 | 2014 | 1 | R-410a | 27.3 lbs | DTE
49 | 509 | Knapp A-2 | Water Cooled Scroll | Carrier | 40 | 30MPWO4055A1212165 | 2414Q21980 | 2014 | 1 | R-410a | 27.3 lbs | DTE
50 | 509 | Knapp B-1 | Water Cooled Scroll | Carrier | 40 | 30MPWO4055A1212165 | 2414Q21998 | 2014 | 1 | R-410a | 27.3 lbs | DTE
51 | 509 | Knapp B-2 | Water Cooled Scroll | Carrier | 40 | 30MPWO4055A1212165 | 2414Q21984 | 2014 | 1 | R-410a | 27.3 lbs | DTE
52 | 603 | Applebaum Pharmacy | Water Cooled Centrifugal - 800 Ton | York | 800 | YKFDFDH7-CWE | SFJM016340 | 2001 | 14 | R-134A | 3600 lbs | DTE
53 | 603 | Applebaum Pharmacy | Water Cooled Centrifugal - 800 Ton | York | 800 | YKFDFDH7-CWE | SFJM016339 | 2001 | 14 | R-134A | 3600 lbs | DTE
54 | 608 | Mazurek Med Ed. Commons | Air Cooled Scroll - 40 Ton | York | 40 | YCUL0030EB46 | 2FTM000982 | 2009 | 6 | R-407C | 110 lbs | DTE
55 | 608 | Mazurek Med Ed. Commons | Water Cooled Centrifugal - 320 Ton | York | 320 | YKDQDR05-CJG | SFTM990390 | 2009 | 6 | R-134A | 1585 lbs | DTE
56 | 609 | Mott | Water Cooled Centrifugal - 200 Ton | Carrier | 200 | 19XR-313223 | 1702Q66938 | 2005 | 10 | R-134A | 680 lbs | PLD
57 | 609 | Mott | Water Cooled Centrifugal - 200 Ton | Carrier | 200 | 19XR-313223 | 1702Q66939 | 2005 | 10 | R-134A | 680 lbs | PLD
58 | 611 | Lande Building | Water Cooled Centrifugal - 350 Ton | York | 350 | YTC3D3C1-CKD | YHTM314820 | 1987 | 28 | R-123 | 1200 lbs | DTE
59 | 611 | Lande Building | Water Cooled Centrifugal - 350 Ton | York | 350 | YTC3D3C1-CKD | YHTM314821 | 1987 | 28 | R-123 | 1200 lbs | PLD
60 | 612 | Scott Hall | Centrifugal | Trane | 1120 | CVHE112 | L89B00536 | 1989 | 26 | R-11 | 2500 lbs | DTE
61 | 612 | Scott Hall | Absorber - 780 Ton | York | 780 | YIAST8D346B | UNKM003158 | 1999 | 16 | LiBr | 540 gal | PLD
62 | 612 | Scott Hall | Absorber - 780 Ton | York | 780 | YIAST8D346B | UNKM003157 | 1999 | 16 | LiBr | 540 gal | DTE
63 | 629 | Elliman Clinical Building | Centrifugal | Trane | 320 | CVHE032 | L88F03150 | 1988 | 27 | R-11 | 750 lbs | DTE
64 | 629 | Elliman Clinical Building | Centrifugal | Trane | 320 | CVHE032 | L88F03151 | 1988 | 27 | R-11 | 750 lbs | DTE
65 | 637 | Karmanos Cancer | Water Cooled Rotary Screw | Trane | 225 | RTHB225 | U96A02470 | 1996 | 19 | R-22 | 605 lbs | DTE
66 | 637 | Karmanos Cancer | Water Cooled Rotary Screw | Trane | 225 | RTHB225 | U96A02469 | 1996 | 19 | R-22 | 605 lbs | DTE
= Decomissioned and abandoned in place
Need to add I Bio Chiller detail
Need to add Tech One Chiller detail