## Sorted by Year Installed - 2
| Bldg # | Building | Location Address | Year Installed | Age | TMA Tag Number | State Boiler # | Manufacturer | Model | Serial No. | WSU Boiler Classification | WSU Primary Boiler Use | H.S. | Btu/hrs Input | Max Psi | SV Set Psi
1 | 001 | Old Main | 4841 CASS AVE | 2007 | 8 | 001-BSG-002 | M417483M | CLEAVER BROOKS | CB 700-250-150ST | OL-105565 | Steam HI/PSI | Heating | 1250 | 10206000 | 150 | 70
2 | 001 | Old Main | 4841 CASS AVE | 2007 | 8 | 001-BSG-001 | M417484M | CLEAVER BROOKS | CB 700-250-150ST | OL-105564 | Steam HI/PSI | Heating | 1250 | 10206000 | 150 | 70
3 | 003 | Physics | 666 HANCOCK | 1989 | 26 | 003-BSG-001 | M366199M | SUPERIOR | MS8-4.7-1172 | 10640 | Hot Water | Hot Water Heating | 1172 | 8625 | 15 | 15
4 | 003 | Physics | 666 HANCOCK | 1989 | 26 | 003-BSG-002 | M366200M | SUPERIOR | MS8-4.7-1172 | 10641 | Hot Water | Hot Water Heating | 1172 | 8625 | 15 | 15
5 | 007 | Chemistry | 5101 CASS AVE | 2007 | 8 | 007-BSG-001 | M418050M | CLEAVER BROOKS | CBLE 700-250-150ST | OL-105575 | Steam HI/PSI | Heating | 1250 | 10206000 | 150 | 70
6 | 007 | Chemistry | 5101 CASS AVE | 2007 | 8 | 007-BSG-002 | M418049M | CLEAVER BROOKS | CBLE 700-250-150ST | OL-105576 | Steam HI/PSI | Heating | 1250 | 10206000 | 150 | 70
7 | 007 | Chemistry | 5101 CASS AVE | 2007 | 8 | 007-BSG-003 | M418048M | CLEAVER BROOKS | CBLE 700-250-150ST | OL-105577 | Steam HI/PSI | Heating | 1250 | 10206000 | 150 | 70
8 | 007 | Chemistry | 5101 CASS AVE |  | 2015 | 007-BSG-004 | M419864M | CLEAVER BROOKS | CBLE 700-250-150ST | OL-105915 | Steam HI/PSI | Heating
9 | 016 | State Hall | 5244 GULLEN MALL | 2007 | 8 | 016-BSG-001 | M418044M | CLEAVER BROOKS | CBLE 700-200-150 | OL-105568 | Steam HI/PSI | Heating | 1000 | 8164600 | 150 | 70
10 | 016 | State Hall | 5244 GULLEN MALL | 2007 | 8 | 016-BSG-002 | M418043M | CLEAVER BROOKS | CBLE 700-200-150 | OL-105569 | Steam HI/PSI | Heating | 1000 | 8164600 | 150 | 70
11 | 017 | Linsell House | 5104 GULLEN MALL | 1979 | 36 | 017-BSG-001 | M366188M | BURNHAM |  |  | Hot Water | Hot Water Heating | 0 | 245 | 15 | 15
12 | 026 | Purdy | 5244 GULLEN MALL | 2007 | 8 | 026-BSG-001 | M418041M | CLEAVER BROOKS | CB 700-150-150 | OL105557 | Steam HI/PSI | Heating | 750 | 6123600 | 150 | 70
13 | 026 | Purdy | 5244 GULLEN MALL | 2007 | 8 | 026-BSG-002 | M418042M | CLEAVER BROOKS | CB 700-150-150 | OL105558 | Steam HI/PSI | Heating | 750 | 3123500 | 150 | 70
14 | 028 | Rands | 5229 CASS AVE | 1980 | 35 | 028-BSG-001 | M366187M | BRYAN |  |  | Hot Water | Hot Water Heating | 0 | 650000 | 30 | 30
15 | 036 | Reuther | 5401 CASS AVE | 2007 | 8 | 036-BSG-003 | M417489M | FULTON | ICS 15 | 103900 | Steam LO/PSI | Heating | 0 | 630000 | 15 | 15
16 | 036 | Reuther | 5401 CASS AVE | 2007 | 8 | 036-BSG-002 | M417497M | LOCHINVAR | PBN2000-M14 | 7194649 | Hot Water | Hot Water Heating | 0 | 2000000 | 125 | 50
17 | 036 | Reuther | 5401 CASS AVE | 2007 | 8 | 036-BSG-001 | M417498M | LOCHINVAR | PBN2000-M14 | 7195105 | Hot Water | Hot Water Heating | 0 | 2000000 | 125 | 50
18 | 038 | Schaver | 4815 FOURTH AVE | 2007 | 8 | 038-BSG-002 | M418039M | CLEAVER BROOKS | CBLE-700-150-150 | OL-105585 | Steam HI/PSI | Heating | 500 | 4184000 | 150 | 70
19 | 038 | Schaver | 4815 FOURTH AVE | 2007 | 8 | 038-BSG-002 | M418040M | CLEAVER BROOKS | CBLE-700-150-150 | OL-105584 | Steam HI/PSI | Heating | 500 | 4184000 | 150 | 70
20 | 048 | Cohn | 5557 CASS AVE | 2007 | 8 | 048-BSG-001 | M418100M | CLEAVER BROOKS | CBLE 700-200-150 | OL-105580 | Steam HI/PSI | Heating | 1000 | 8165000 | 150 | 70
21 | 048 | Cohn | 5557 CASS AVE | 2007 | 8 | 048-BSG-002 | M418101M | CLEAVER BROOKS | CBLE 700-200-150 | OL-105581 | Steam HI/PSI | Heating | 1000 | 8165000 | 150 | 70
22 | 050 | Shapero | 5501 SECOND AVE | 2007 | 8 | 050-BSG-001 | M417499M | CLEAVER BROOKS | CB 700-40-125HW | OL105546 | Hot Water | Hot Water Heating | 0 | 1674000 | 125 | 60
23 | 050 | Shapero | 5501 SECOND AVE | 2007 | 8 | 050-BSG-002 | M417500M | CLEAVER BROOKS | CB 700-40-125HW | OL105547 | Hot Water | Hot Water Heating | 0 | 1674000 | 125 | 60
24 | 050 | Shapero | 5501 SECOND AVE | 2007 | 8 | 050-BSG-003 | M417501M | CLEAVER BROOKS | CB 700-40-125HW | OL105548 | Hot Water | Hot Water Heating | 0 | 1674000 | 125 | 60
25 | 060 | Univ. Services | 5454 CASS AVENUE | 2007 | 8 | 060-BSG-001 | M412470M | CLEAVER BROOKS | CB-700-080-015 | OL105535 | Steam LO/PSI | Heating | 0 | 4184000 | 15 | 15
26 | 060 | Univ. Services | 5454 CASS AVENUE | 2007 | 8 | 060-BSG-002 | M416575M | CLEAVER BROOKS | CB-700-080-015 | OL105534 | Steam LO/PSI | Heating | 0 | 4184000 | 15 | 15
27 | 062 | AAB | 5700 CAS AVE | 1995 | 20 | 062-BSG-001 | M374407M | LOCHINVAR | CHN2070 | C955035 | Hot Water | Hot Water Heating | 200 | 2070000 | 50 | 50
28 | 062 | AAB | 5700 CASS AVE | 1995 | 20 | 062-BSG-002 | M374408M | LOCHINVAR | CHN2070 | C955037 | Hot Water | Hot Water Heating | 200 | 2070000 | 50 | 50
29 | 062 | AAB | 5700 CASS AVE | 1995 | 20 | 062-BSG-003 (not in use) | M374409M | LOCHINVAR | CHN2070 | C955036 | Hot Water | Hot Water Heating | 200 | 2070000 | 50 | 50
30 | 064 | Beecher | 5475 WOODWARD | 2007 | 8 | 064-BSG-001 | M418010M | FULTON | ICS-10 | 103917 | Steam LO/PSI | Heating | 0 | 420000 | 15 | 15
31 | 064 | Beecher | 5475 WOODWARD | 2007 | 8 | 064-BSG-002 | M418011M | FULTON | ICS-10 | 103918 | Steam LO/PSI | Heating | 0 | 420000 | 15 | 15
32 | 067 | 5425 Woodward | 5425 WOODWARD | 2007 | 8 | 067-BSG-001 | M417466M | CLEAVER BROOKS | CBLE 700-100-150 ST | OL-105572 | Steam HI/PSI | Heating | 500 | 4180000 | 150 | 70
33 | 067 | 5425 Woodward | 5425 WOODWARD AVE | 2007 | 8 | 067-BSG-002 | M417465M | CLEAVER BROOKS | CBLE 700-100-150 ST | OL-105571 | Steam HI/PSI | Heating | 500 | 4184000 | 150 | 70
34 | 068 | Simons | 4809 WOODWARD | 2007 | 8 | 068-BSG-001 | M417404M | FULTON | PHW 500 | 103404 | Hot Water | Hot Water Heating | 0 | 500000 | 160 | 75
35 | 070 | 5035 Woodward | 5035 WOODWARD |  | 2015 | 070-BSG-001 | M421670M | Weil-McLain |  | CP1749836 | Steam HI/PSI | Heating
36 | 071 | 5057 Woodward | 5057 WOODWARD | 2007 | 8 | 071-BSG-001 | M417490M | CLEAVER BROOKS | CBLE 700-150-015 STEAM | OL-105563 | Steam LO/PSI | Heating | 0 | 6123500 | 15 | 15
37 | 071 | 5057 Woodward | 5057 WOODWARD | 2007 | 8 | 071-BSG-002 | M417491M | CLEAVER BROOKS | CBLE 700-150-015 STEAM | OL-105562 | Steam LO/PSI | Heating | 0 | 6123500 | 15 | 15
38 | 078 | Stadium Bldg |  |  | 2015 | 078-BSG-001 |  |  |  |  | Hot Water | Domestic HW
39 | 080 | Matthaei | 5101 JOHN C LODGE FREEWAY | 2007 | 8 | 080-BSG-002 | M416573M | CLEAVER BROOKS | OL105539 | CB-700-100-015ST | Steam LO/PSI | Heating | 0 | 4184000 | 15 | 15
40 | 080 | Matthaei | 5101 JOHN C LODGE FREEWAY | 2007 | 8 | 080-BSG-001 | M416574M | CLEAVER BROOKS | OL105540 | CB-700-100-015ST | Steam LO/PSI | Heating | 0 | 4184000 | 15 | 15
41 | 082 | Welcome Center | 42 W WARREN | 2002 | 13 | 082-BSG-001 | M405621M | RAYPAK | H9-1807 | 203192584 | Hot Water | Hot Water Heating | 0 | 1800000 | 160 | 60
42 | 082 | Welcome Center | 42 W WARREN | 2002 | 13 | 082-BSG-003 | M405622M | RAYPAK | H9-1802 | 203192585 | Hot Water | Hot Water Heating | 0 | 1800000 | 160 | 60
43 | 082 | Welcome Center | 42 W WARREN | 2002 | 13 | 082-BSG-002 | M405623M | RAYPAK | H9-1802 | 203192583 | Hot Water | Hot Water Heating | 0 | 1800000 | 160 | 60
44 | 085 | Bookstore | 82 W WARREN |  | 2015 | 085-BSG-001 | M421668M | LOCHINVAR | CHN1260 | F02H00141983 | Hot Water | Hot Water Heating
45 | 085 | Bookstore | 82 W WARREN |  | 2015 | 085-BSG-002 | M421669M | LOCHINVAR | CHN1260 | F02H00141984 | Hot Water | Hot Water Heating
50 | 089 | Bio Science | 5047 GULLEN MALL |  | 2015 | 089-BSG-004 (not in use) | M366194M | Amsco Power Pack | LB-180 | 30524
46 | 089 | Bio Science | 5047 GULLEN MALL | 1990 | 25 | 089-BSG-001 | M366197M | KEWANEE | L3SW-600-G | 96652 | Hot Water | Hot Water Heating | 3000 | 25106000 | 30 | 30
49 | 089 | Bio Science | 5047 GULLEN MALL | 1990 | 25 | 089-BSG-002 | M366198M | KEWANEE | L35W-600-G | 95002 | Hot Water | Hot Water Heating | 3000 | 25106000 | 30 | 30
47 | 089 | Bio. Science | 5047 GULLEN MALL | 1990 | 25 | 089-BSG-003 | M366195M | KEWANEE | H-35-150G | 10208 | Steam HI/PSI | Process Steam | 750 | 6277000 | 150 | 75
48 | 089 | Bio Science | 5047 CULLEN MALL | 1990 | 25 | 089-DHW-001 | M366196M | LOCHINVAR | CWN-170 | E907043 | Hot Water | Domestic HW | 0 | 1912000 | 150 | 150
52 | 090 | Engineering | 5050 ANTHONY WAYNE | 2007 | 8 | 090-BSG-002 | M417493M | CLEAVER BROOKS | CBLE-700-150-150 | OL105551 | Steam HI/PSI | Heating | 0 | 6123500 | 150 | 70
53 | 090 | Engineering | 5050 ANTHONY WAYNE | 2007 | 8 | 090-BSG-001 | M417494M | CLEAVER BROOKS | CBLE-700-150-150 | OL105549 | Steam HI/PSI | Heating | 0 | 6123500 | 150 | 70
54 | 090 | Engineering | 5050 ANTHONY | 2007 | 8 | 090-BSG-003 | M417492M | CLEAVER BROOKS | CBLE-700-150-150 | OL105550 | Steam HI/PSI | Heating | 0 | 6123500 | 150 | 70
51 | 090 | Engineering | 5050 ANTHONY WAYNE DR | 2008 | 7 | 090-BSG-004 | M419868M | CLEAVER BROOKS | CBLE-700-150-150 |  | Steam HI/PSI | Heating | 750 | 6277000 | 150 | 70
55 | 104 | Atchinson Hall (South) | 5110 ANTHONY WAYNE DR |  | 2015 | 104-DWB-002 | M421663M | LOCHINVAR | CWN0985PM | K02H00148963 | Hot Water | Domestic HW
56 | 104 | Atchinson Hall (South) | 5110 ANTHONY WAYNE DR |  | 2015 | 104-DWB-001 | M421664M | LOCHINVAR | CWN0985PM | K02H00148964 | Hot Water | Domestic HW
57 | 115 | Ghafari Hall (North) | 695 WILLIAMS MALL |  | 2015 | 115-HWB-002 | M421671M |  | CWN1255-PW | B025869 | Hot Water | Domestic HW
58 | 115 | Ghafari Hall (North) | 695 WILLIAMS MALL |  | 2015 |  | M421672M |  | CWN1255-PW | B025870 | Hot Water | Domestic HW
59 | 115 | Ghafari Hall (North) | 695 WILLIAMS MALL |  | 2015 | 115-HWB-003 | M421673M |  | CBN1255 | J013773 | Hot Water | Hot Water Heating
60 | 115 | Ghafari Hall (North) | 695 WILLIAMS MALL |  | 2015 | 115-HWB-001 | M421674M |  | CBN1255 | J015043 | Hot Water | Hot Water Heating
63 | 127 | Res. Towers | 655 W KIRBY | 2005 | 10 | 127-BSG-003 | M409678M | LOCHINVAR | CHN2071 | I04H00168395 | Hot Water | Heating | 0 | 2070000 | 160 | 75
64 | 127 | Res Towers | 655 W KIRBY | 2005 | 10 | 127-BSG-004 | M409679M | LOCHINVAR | CHN2071 | I04H00168396 | Hot Water | Heating | 0 | 2070000 | 160 | 75
61 | 127 | Res Towers | 655 W KIRBY | 2005 | 10 | 127-BSG-001 | M411317M | LOCHINVAR | CWN2066PM | H04H00167643 | Hot Water | Domestic HW | 0 | 2070000 | 160 | 150
62 | 127 | Res Towers | 655 W KIRBY | 2005 | 10 | 127-BSG-002 | M411318M | LOCHINVAR | CWN2066PM | H04H00167644 | Hot Water | Domestic HW | 0 | 2070000 | 160 | 150
65 | 130 | FAB | 656 W. KIRBY | 1988 | 27 | 130-BSG-001 | M366189M | BRYAN | CL-150W-FDG | 66356 | Hot Water | Hot Water Heating | 0 | 1500000 | 30 | 30
66 | 130 | FAB | 656 W KIRBY | 1988 | 27 | 130-BSG-002 | M366190M | BRYAN | CL-150W-FDG | 66357 | Hot Water | Hot Water Heating | 0 | 1500000 | 30 | 30
67 | 136 | Chatsworth | 630 WILLIAMS MALL | 2005 | 10 | 136-BSG-004 | M411335M | CLEAVER BROOKS | CB1700300150 | 0L104183 | Steam HI/PSI | Heating Cooling (Absr Chlrs) | 1500 | 12247000 | 150 | 150
68 | 136 | Chatsworth | 630 WILLIAMS MALL | 2005 | 10 | 136-BSG-002 | M411333M | CLEAVER BROOKS | CB1700300150 | 0L104185 | Steam HI/PSI | Heating Cooling (Absr Chlrs) | 1500 | 12247000 | 150 | 150
69 | 136 | Chatsworth | 630 WILLIAMS MALL | 2005 | 10 | 136-BSG-001 | M411332M | CLEAVER BROOKS | CB1700300150 | 0L104184 | Steam HI/PSI | Heating Cooling (Absr Chlrs) | 0 | 12247000 | 150 | 150
70 | 136 | Chatsworth | 630 WILLIAMS MALL | 2005 | 10 | 136-BSG-003 | M411334M | CLEAVER BROOKS | CB1700300150 | 0L104182 | Steam HI/PSI | Heating Cooling (Absr Chlrs) | 1500 | 12247000 | 150 | 150
75 | 140 | Education | 5425 GULLEN MALL |  | 2015 | 140-BSG-004 | M417480M | LOCHINVAR | PNB2000-M14 | 7195086 | Hot Water | Hot Water Heating
71 | 140 | Education | 5425 GUNNEN MALL | 2007 | 8 | 140-BSG-003 | M417479M | LOCHINVAR | PNB2000-M14 | 7195087 | Hot Water | Hot Water Heating | 0 | 2000000 | 125 | 50
72 | 140 | Education | 5425 GULLEN MALL | 2007 | 8 | 140-BSG-001 | M417477M | LOCHINVAR | PBN2000-M14 | 7195097 | Hot Water | Hot Water Heating | 0 | 2000000 | 125 | 50
73 | 140 | Education | 5425 GULLEN MALL | 2007 | 8 | 140-BSG-002 | M417478M | LOCHINVAR | PNB2000-M14 | 7194650 | Hot Water | Hot Water Heating | 0 | 2000000 | 125 | 50
74 | 140 | Education | 5425 GULLEN MALL | 2007 | 8 |  | M418499M | LAARS | PNCV0500NACK2BJN | C07181434 | Hot Water | Domestic HW | 0 | 499980 | 160 | 125
76 | 141 | 5900 Second | 5900 SECOND | 2007 | 8 | 141-BSG-001 | M418012M | FULTON | ICS-030-A | 103902 | Steam LO/PSI | Heating | 0 | 1260000 | 15 | 15
77 | 155 | Manoogian | 906 W WARREN AVE | 2007 | 8 | 155-BSG-001 | M417487M | CLEAVER BROOKS | CBLE 700-200-150 | OL105553 | Steam HI/PSI | Heating | 1000 | 8165000 | 100 | 60
78 | 155 | Manoogian | 906 W WARREN AVE | 2007 | 8 | 155-BSG-002 | M417488M | CLEAVER BROOKS | CBLE 700-200-150 | OL105552 | Steam HI/PSI | Heating | 1000 | 8165000 | 100 | 60
81 | 156 | St. Andrews | 918 LUDINGTON MALL | 1970 | 45 | 156-BSG-003 | M374403M | WEIL MCLAIN | EGH-115-PI |  | Hot Water | Hot Water Heating | 0 | 500000 | 30 | 30
79 | 156 | St. Andrews | 918 LUDINGTON MALL | 1985 | 30 | 156-BSG-001 | M374404M | BRYANT | 7PW | 0780V00037 | Hot Water | Hot Water Heating | 0 | 200000 | 30 | 30
80 | 156 | St. Andrews | 918 LUDINGTON MALL | 1985 | 30 | 156-BSG-002 | M374405M | BRYANT | 243C-7PW | 3980V00197 | Hot Water | Hot Water Heating | 0 | 240000 | 30 | 30
82 | 166 | Manfr. Enginnering | 4815 FOURTH AVE | 2007 | 8 | 166-BSG-001 | M418038M | CLEAVER BROOKS | CBLE 700-100-150 | OL-105582 | Steam HI/PSI | Heating | 500 | 4184000 | 150 | 70
83 | 166 | Manfr. Enginnering | 4815 FOURTH AVE | 2007 | 8 | 166-BSG-001 | M418037M | CLEAVER BROOKS | CBLE 700-100-150 | OL-105583 | Steam HI/PSI | Heating | 500 | 4184000 | 150 | 70
84 | 188 | Mackenzie House | 4735 CASS AVE |  | 2015 | 188-BSG-001 | M421660 | AMERICAN STANDARD | G28 | 6BN J5 | Hot Water | Hot Water Heating
85 | 189 | Hilberry | 4743 CASS AVE | 2007 | 8 | 189-BSG-001 | M416583M | FULTON | ICS-15 ST | 103518 | Steam LO/PSI | Heating | 0 | 630000 | 15 | 15
86 | 189 | Hilberry | 4743 CASS AVE | 2007 | 8 | 189-BSG-003 | M417461M | FULTON | ICS-15 ST | 103514 | Steam LO/PSI | Heating | 0 | 630000 | 15 | 15
87 | 189 | Hilberry | 4743 CASS AVE | 2007 | 8 | 189-BSG-002 | M417464M | FULTON | ICS-15 ST | 103515 | Steam LO/PSI | Heating | 0 | 630000 | 15 | 15
89 | 193 | Comp Ser Cen | 5950 CASS AVE |  | 2015 | 193-BSG-002 | M366192M | SUPERIOR | 4-5-751L-IC | 10572 | Steam LO/PSI | Heating | 751 | 0 | 15 | 15
90 | 193 | Comp Ser Cen | 5950 CASS AVE |  | 2015 | 193-BSG-003 |  | SUPERIOR | 4-5-751L-IC | 10574 | Steam LO/PSI | Heating | 751 | 0 | 15 | 15
88 | 193 | Comp Ser Cen | 5950 CASS AVE | 1988 | 27 | 193-BSG-001 | M366191M | SUPERIOR | 4-5-751L-IC | 10573 | Steam LO/PSI | Heating | 751 | 0 | 15 | 15
91 | 195 | Grounds | 5743 WOODWARD AVE | 1960 | 55 | 195-BSG-001 | M366186M | AMERICAN STANDARD | G49 | 1BJ1 | Hot Water | Hot Water Heating | 0 | 480000 | 30 | 30
92 | 203 | 6050 Cass | 6050 CASS AVE | 2007 | 8 | 203-BSG-001 | M417453M | LOCHINVAR | PBN 1300-M14 | 7198988 | Hot Water | Hot Water Heating | 0 | 1300000 | 125 | 50
93 | 203 | 6050 Cass | 6050 CASS AVE | 2007 | 8 | 203-BSG-002 | M417469M | LOCHINVAR | PBN 1300-M14 | 7198989 | Hot Water | Hot Water Heating | 0 | 1300000 | 125 | 50
95 | 209 | Tech One | 440 BURROUGHS | 2004 | 11 | 209-BSG-003 | M405669M | LOCHINVAR | CHN2071 - Copperfin II |  | Hot Water | Hot Water Heating | 0 | 2070000 | 125 | 50
96 | 209 | Tech One | 440 BURROUGHS | 2004 | 11 | 209-BSG-004 | M405670M | LOCHINVAR | CHN2071 - Copperfin II | L03H00160732 | Hot Water | Hot Water Heating | 0 | 2070000 | 125 | 50
94 | 209 | Tech One | 440 BURROUGHS | 2004 | 11 | 209-BSG-XXX | M405668M | LOCHINVAR | CHN2071 - Copperfin II |  | Hot Water | Domestic HW | 0 | 300000 | 150 | 150
97 | 209 | Tech One | 440 BURROUGHS |  | 2015 | 209-BSG-XXX |  |  | CHN2071 - Copperfin II |  | Hot Water | Hot Water Heating
98 | 209 | Tech One | 440 BURROUGHS |  | 2015 | 209-BSG-XXX |  |  |  |  | Hot Water | Hot Water Heating
99 | 209 | Tech One | 440 BURROUGHS |  | 2015 | 209-DWH-XXX |  |  |  |  | Hot Water | Hot Water Heating
100 | 499 | Rackham | 60 FARNSWORTH | 2007 | 8 | 499-BSG-001 | M417481M | CLEAVER BROOKS | CB 700-080-015 Steam Boi | OL-105567 | Steam LO/PSI | Hot Water Heating | 400 | 3347000 | 150 | 70
101 | 499 | Rackham | 60 FARNSWORTH | 2007 | 8 | 499-BSG-002 | M417482M | CLEAVER BROOKS | CB 700-080-015 Steam Boi | OL-105566 | Steam LO/PSI | Hot Water Heating | 400 | 3347000 | 150 | 70
102 | 504 | Thompson | 4764 CASS AVENUE | 2007 | 8 | 504-BSG-001 | M417403M | LOCHINVAR | CHN 501 | 7195888 | Hot Water | Hot Water Heating | 0 | 500000 | 160 | 50
103 | 507 | University Towers | 4500 CASS AVENUE | 2007 | 8 | 507-BSG-003 | M417495M | CLEAVER BROOKS | CB 700-200-015 | OL-105561 | Steam LO/PSI | Heating | 0 | 8164600 | 15 | 15
104 | 507 | University Towers | 4500 CASS AVENUE | 2007 | 8 | 507-BSG-002 | M417496M | CLEAVER BROOKS | CB 700-200-015 | OL-105559 | Steam LO/PSI | Heating | 0 | 81646000 | 15 | 15
105 | 507 | University Towers | 4500 CASS AVE | 2007 | 8 | 507-BSG-001 | M417502M | CLEAVER BROOKS | CB 700-200-015 | OL-105561 | Steam LO/PSI | Heating | 0 | 8164600 | 15 | 15
106 | 510 | Skillman | 100 E PALMER | 2007 | 8 | 510-BSG-001 | M417467M | CLEAVER BROOKS | CB 700-60-150 | OL-105573 | Steam HI/PSI | Heating | 300 | 2070000 | 150 | 70
107 | 510 | Skillman | 100 E PALMER | 2007 | 8 | 510-BSG-002 | M417468M | CLEAVER BROOKS | CB 700-60-150 | OL-105574 | Steam HI/PSI | Heating | 300 | 2070000 | 150 | 70
109 | 525 | 33737 W. 12 Mi | 33737 W TWELVE MILE RD | 1981 | 34 | 525-XXX-002 | M331988M | KEWANEE |  |  | Hot Water | Hot Water Heating | 500 | 4185000 | 75 | 75
108 | 525 | 33737 W 12 Mi | 33737 W TWELVE MILE RD | 1995 | 20 | 525-XXX-001 | M376243M | PATTERSON-KELLEY |  |  | Hot Water | Hot Water Heating | 0 | 900000 | 75 | 75
110 | 525 | 33737 W 12 Mi | 33737 W TWELVE MILE RD | 1995 | 20 | 525-XXX-003 | M376242M | PATTERSON-KELLEY |  |  | Hot Water | Hot Water Heating | 0 | 900000 | 75 | 75
111 | 603 | Applebaum | 259 MACK AVE | 2004 | 11 | 603-BSG-001 | M405687M | CLEAVER BROOKS | CB1-700-800-150 | 0L103572 | Steam HI/PSI | Heating | 3500 | 321659000 | 150 | 150
112 | 608 | Med. Ed. Com | 320 E CANFIELD | 2008 | 7 | 608-BSG-001 | M421352M | CLEAVER BROOKS |  |  | Hot Water | Hot Water Heating | 0 | 3500000 | 160 | 125
113 | 608 | Med. Ed. Com | 320 E CANFIELD | 2008 | 7 | 608-BSG-002 | M421353M | CLEAVER BROOKS |  |  | Hot Water | Hot Water Heating | 0 | 3500000 | 160 | 125
114 | 609 | Mott | 275 E HANCOCK | 2007 | 8 | 609-BSG-003 | M418083M | CLEAVER BROOKS |  |  | Steam HI/PSI | Heating | 1000 | 8164600 | 150 | 80
115 | 609 | Mott | 275 E HANCOCK | 2007 | 8 | 609-BSG-002 | M418084M | CLEAVER BROOKS |  |  | Steam HI/PSI | Heating | 1000 | 8164600 | 150 | 80
116 | 609 | Mott | 275 E HANCOCK | 2007 | 8 | 609-BSG-001 | M418082M | CLEAVER BROOKS |  |  | Steam HI/PSI | Heating | 1000 | 8164600 | 150 | 80
117 | 609 | Mott | 275 E HANCOCK |  | 2015 | 609-BSG-009 | M366185M |  |  |  | Hot Water??
119 | 612 | Scott Hall | 540 E. CANFIELD | 1989 | 26 | 612-BSG-003 | M366178M | VAPOR | MRG-5903-VHK-300B | 22527 | Steam HI/PSI | Heating | 540 | 0 | 150 | 90
121 | 612 | Scott Hall | 540 E. CANFIELD | 1989 | 26 | 612-BSG-002 | M366179M | VAPOR | MRG-5903-VHK-300B | 22528 | Steam HI/PSI | Heating | 540 | 0 | 150 | 90
122 | 612 | Scott Hall | 540 E. CANFIELD | 1989 | 26 | 612-BSG-004 | M366177M | VAPOR | MRG-5903-VHK-300B | 22526 | Steam HI/PSI | Heating | 540 | 0 | 150 | 90
120 | 612 | Scott Hall | 540 E CANFIELD | 1989 | 26 | 612-BSG-001 | M366180M | VAPOR | MRG-5903-VHK-300B | 22529 | Steam HI/PSI | Heating | 540 | 0 | 150 | 95
118 | 612 | Scott Hall | 540 E. CANFIELD | 2000 | 15 | 612-BSG-005 | M392122M | VAPOR | MRG-5905-AHK-300 | 23039 | Steam HI/PSI | Heating | 540 | 10350000 | 150 | 150
123 | 620 | Bonstelle | 3424 WOODWARD | 2007 | 8 | 620-BSG-002 | M418013M | FULTON | ICS - 30 | 103924 | Steam LO/PSI | Heating | 0 | 1260000 | 15 | 15
124 | 620 | Bonstelle | 3424 WOODWARD | 2007 | 8 | 620-BSG-001 | M418014M | FULTON | ICS - 30 | 103910 | Steam LO/PSI | Heating | 0 | 1260000 | 15 | 15
126 | 629 | Elliman | 421 E CANFIELD | 2006 | 9 | 629-BSG-003 | M418034M | CLEAVER BROOKS | CB-700-125-150 | OL105537 | Steam HI/PSI | Heating | 1000 | 8165000 | 1560 | 80
125 | 629 | Elliman | 421 E CANFIELD | 2007 | 8 | 629-BSG-002 | M418033M | CLEAVER BROOKS | CB-700-125-150 | OL105538 | Steam HI/PSI | Heating | 1000 | 8165000 | 150 | 80
127 | 629 | Elliman | 421 E CANFIELD | 2007 | 8 | 629-BSG-001 | M418032M | CLEAVER BROOKS | CB-700-125-150 | OL105536 | Steam HI/PSI | Heating | 1000 | 5102000 | 150 | 80
128 | 637 | 110 E. Warren | 421 E CANFIELD | 2007 | 8 | 637-BSG-001 | M418035M | CLEAVER BROOKS | CBLE 700-200-150 | OL105545 | Steam HI/PSI | Heating | 1000 | 8165000 | 150 | 80
129 | 637 | 110 E. Warren | 110 E WARREN | 2007 | 8 | 637-BSG-002 | M418036M | CLEAVER BROOKS | CBLE 700-200-150 | OL105544 | Steam HI/PSI | Heating | 1000 | 8165000 | 150 | 80
130 | 992 | MCHT | 4815 FOURTH AVE | 2007 | 8 | 992-BSG-002 | M418046M | VAPOR | MG-5903-AHK-150DS | 23454 | Steam HI/PSI | Heating | 248 | 6570000 | 150 | 85
131 | 992 | MCHT | 4815 FOURTH AVE | 2007 | 8 | 992-BSG-001 | M418047M | VAPOR | MG-5903-AHK-150DS | 23453 | Steam HI/PSI | Heating | 248 | 6570000 | 150 | 85
132 | 992 | MCHT | 2727 SECOND AVE | 2007 | 8 | 992-BSG-003 | M418045M | VAPOR | MG-5903-AHK-150DS | 23455 | Steam HI/PSI | Heating | 248 | 6570000 | 150 | 85
| 217 | 1200 Holden
| 199 | 5959 Woodward
| 505 | Carriage House
| 063 | 5447 Woodward & 69 West Ferry Ave