DELIVERABLES for CONTRACT CLOSEOUT

The majority of the listed items is due before Owner beneficial use and the submission of invoicing seeking reduction of retention below 5%.

O=Original	R=Reproducible	C=Copy

| Items | ##### Quantity |
| --- | --- |
| Submittal Register – Submit final, approved submittal register to DPS or its designated representative with the package of Closeout Documents. | 1 O 2 C |
| Record Contract Drawings – Updated to include all addenda, bulletins, change orders and contractors’ as-built information. These require submission to the Architect for review and processing, prior to acceptance for closeout by DPS or its designated representative. | 1 O 2 C |
| Manufacturer’s, Supplier’s and Contractor’s Shop Drawings – Final, approved versions of all such as defined in specification section 01330, and as required by the Technical Specifications. | 1 O 2 C |
| Manufacturer’s, Catalog Sheets, Product Data, Brochures, Diagrams, Schedules, Performance Charts, Etc. – Final, approved versions of all such as defined in specification section 01330, and as required by the Technical Specifications. | 1 O 2 C |
| Certifications - Final, approved versions of all such as defined in specification section 01330, and as required by the Technical Specifications. | 1 O 2 C |
| Air/Water Test and Balance Reports – Final, approved versions of all such as required in the Technical Specifications. | 1 O 2 C |
| Warranties – Signed by the subcontractor and countersigned by the CM. Include special warranties as required in Technical Specifications. These require submission to the Architect for review prior to acceptance for closeout by DPS or its designated representative. | 1O 2C |
| Operations and Maintenance Manuals – Submit final, approved manuals in accordance with specification section 01730 and the Technical Specifications. | 1 O 2 C |
| Certificates of Substantial Completion – Deliver the Certificates to DPS or its designated representative along with any punch lists referenced on the certificates. | 1 O 2 C |
| Notification of Final Completion and Request for Final Inspection – Include all punch lists with AE signoff indicating completion. | 1 O 2 C |
| Verification of all attic stock, spare parts, keys, etc. turned over to DPS – Deliver to DPS or its designated representative transmittals of specific items w/ signature of receipt by the Building Engineer. Specific requirements per the Technical Specifications. | 3 C |
| Record Project Manual – Complete Project Manual, updated to include all addenda, bulletins and change orders. | 3 C |
| Contracts – Copies of all contracts and change orders for all 1st tier subcontractors and for material and equipment suppliers. | 3 C |
| Field Test Records – As defined in DPS General Conditions and as required in the Technical Specifications | 3 C |
| Emergency Contacts List – List of company names, addresses, 24-hour telephone numbers and contact names for the CM, for all 1st tier subcontractors and for material and equipment suppliers. Submit to DPS or its designated representative with the warranty binders. | 3 C |
| Permits, Certificates of Inspection/Acceptance, Occupancy Permit – Includes original and copies of drawing sets submitted for approval by authorities having jurisdiction including Fire Marshall and Building and Safety Engineers. | 3 C |
| Owner Instruction Records – In accordance with specification section 01750 and the Technical Specifications. | 3 C |
| Commissioning Records – In accordance with specification section 01750 and the Technical Specifications. | 3 C |