Design and Construction Services

5454 Cass Avenue

Detroit, MI 48202

Project Acceptance Form

Attention:			Dr. David Njus

From:				Nancy Milstein

Date:				July 11, 2012

Project:			Biology 1131 Relocation of Geologist

WSU Project #: 		089-206337

Department/ Division:	Biological Sciences

Client/ Contact Person:	Dr. David Njus

Contact Info:			dnjus@wayne.edu

Plant Fund Account:		#7-71672

Buildings Involved: 		BioScience Building

Governing Jurisdiction:	WSu Office of Risk Management

DATE OF FINAL WALKTHROUGH/INSPECTION:    July 11, 2012

Description of Work:

Renovation of Room 1131 located on the first floor of the Biological Sciences Building, which originally housed a glass shop that is no longer in operation.  The purpose of the project is to renovate the space to accommodate three Geophysics researchers:  Dr. Ed Van Hees, Dr. Howard and Dr. Lemke.  The room consists of approximately 550 sf and shall be divided into 2 to 3 areas:  a wet laboratory, an instrument room and balance/weighing area.  There are three major pieces of equipment to be accommodated:  large Optima mass spectrometer, smaller ICP/AES and 2 extraction racks.

All of the alterations are internal to room #1131 with the exception of creating an adjacent instrument room by adding a door and providing a new wall off the existing alcove off the corridor.  The activities of the new lab require one chemical fume hood and the adaptation of the existing fume hood to suit the new lab activities. Exhaust will be required for these fume hoods.  A new exhaust route, fire-wrapped needs to be determined for this.

Building structure, core and exterior closure assemblies shall not be impacted by this alteration.

Description of Work Completed:

Prep: (asbestos abatement, removing old furniture/equipment, etc): Minor demolition for new plumbing, electrical & mechanical requirements.

Architectural:  Renovation of spaces to create Lab 1131, Prep Room 1131.1, Lab 1131.2 and 1131.3 and Electrical room 1131.4. Work included new casework & sinks, new fumehood, paint, wall base.

Structural: none

Mechanical: Mechanical work associated with new fume hood, exhaust for existing fume hood and repair of building ductwork

Electrical: Electrical as required for new lab space including new electrical room within project area.

Telecom/Phones: Installation arranged by Department (7.2.12)

Move: Move Dr. Howard and Dr. Lemke and Dr. Van Hees from Physics basement and CJI  (completed)

Furniture: none

Other Equipment Coordination: Water filtration system to be installed by Department, per e-mail from Dr. Njus (06.28.12)

ADA Issues: None

Security Issues: None

Special Notes: Original scope of work to move Dr. VanHees” specialized equipment into the new space was not required since this researcher left the university.  The electrical scope of work and moves  associated with Dr. VanHees’ equipment ( large Optima mass spectrometer, a smaller ICP/AES and 2 extraction racks)  was  deleted from the project.

Punchlist Items to be Completed: ( List or attach document)

Aug 14, 2012  1.  Furnish and install curtain

2.  Install unistrut  in locations indicated by Dr. Van Hees

Signature:_________________________________________Date:__________

CC: